- connect gutter to outside box

- mount outside box

- connect outside box to lighting distribution

- install meyer hubs on lighting distribution

- install conduit on lighting distribution

- install 3" strut for light poles

- install light pole electrical entries

- install ice plant ground rod

- install ice rink ground rod

- install ice rink grounding conductor

- install ice plant ground bus box

- install ice plant ground bus

- install ice plant grounding conductor from main panel thru bus to grounding electrode, #2 or larger

- install ice plant bonds on water, brine lines

- install grounding conductor between ice plant and ice rink

- bend service periscope

- thread service periscope

- install service periscope

- install service conductors

- mount NE panel

- mount SW panel

- conduit to NE panel

- conduit to SW panel

- conductors to NE panel

- conductors to SW panel

- SW panel platform

- NE panel platform

- conduit to sign boxes

- conduit to neon sign

- conductors to neon sign

- conductors to sign boxes

- feeds to horizontal LED lighting

- grounding conductor to water bond

- grounding conductor to gas bond

- connect water bond

- connect gas bond

- install lighting controllers

- install flood lights

- install emergency lights

- install exit signs

- install alley outdoor lights

- pull conductors in lighting distribution

- loop all conductors in lighting distribution

- connect ground bonds in lighting distribution

- install alley light conduits

- install distribution in HDR

- connect current HDR feeds to new panel

- cover new panel in HDR

- install conduits and conductors to skate shed