Zamboni platform:

This is a second, emergency exit from the rink.  It consists of a level platform about 8’ wide.  The Zamboni will park at the end of the platform to give walking clearance for exiting.

It would be nice if the platform were not so long as to completely block the grade-level access from the alley to the far side of the platform.

The entire platform and the sides of the ramp will need to have handrails.

We expect that a handicap ramp will need to access the ramp.  The base of the ramp will start away from the rink and the platform will rise toward the rink.  The slope of the ramp is not steeper than 1:12.  Since the total rise is about 13”, we won’t need a mid-ramp landing, if I understand the ADA correctly.  On the ramp, the length should be as long as is convenient, probably around 16’.

There needs to be a landing at the top and bottom.  I think they can be the width of the ramp but will need to be at least 5’ long.  The ramp will need to be 48” wide or more.

When the platform and ramp are completed, it will be covered with 1/2” black rubber.

A sketch of the platform is attached.

# Entry/Exit

This is the main entry to the rink for now.  It is a flat deck, about like a backyard patio deck.  The wood covering should be dimension lumber with the gaps perpendicular to the direction of travel.  The surface will need to be covered with ½” interlocking rubber.

It will need a handrail on both sides.  The top rail will need to attach to the ice rink rail and to the wall so that it can provide support for the ice rink rail.

The joists attach to the wall and the rink retaining wall at existing steel connectors imbedded into the concrete.  There is a mid-span footing to support the deck.

Emergency Exit Door:

This is a wrought iron gate that swings toward Del Paso.  It needs panic hardware.  The hinges should be on the ice rink wall.

Other drawings:

Pump sketch:

We have to install a temporary rain ejector pump.  I would like to use a sump pump with a cover on it.  I don’t know if they’ll let us get away with this or not.  Our plan is to fill this open area with concrete floor next summer so we won’t need a pump in the long run.

Handicapped parking area:

We need to show a handicapped parking area adjacent to the hockey dressing room.  Sketch attached.

Wheelchair Ramp Guidelines:

The Americans with Disabilities Act (ADA) has laid down certain requirements and specifications for the building of wheelchair ramps. This is to ensure that all wheelchair ramps, whether they are built by the user or ramp manufacturers, are absolutely safe for use by people in wheelchairs. Thus, prior to buying or building any chair ramp, you need to be aware of these regulations for ADA wheelchair ramps. This article provides you with important information on ADA ramps and how to be in compliance with the ADA wheelchair ramp regulations.

- All newly constructed wheelchair ramps should have a slope of at least 1:12 ratio. Wheelchair ramps can rise for a maximum height of 30 inches for a single run, after which it should have a landing. If a wheelchair ramp has to be built in an already existing building and there is not enough space for a 1:12 slope, then the ADA wheelchair ramps may be built with the following slope guidelines:

  - A wheelchair ramp slope of 1:10 to 1:12 ratio, not exceeding a rise of 6 inches from the ground surface.

  - An ADA wheelchair ramp may have a slope of 1:8 to 1:10 ratio, but not for a rise of more than 3 inches. A wheelchair ramp with a slope lesser than 1:8 ratio is not permissible under any circumstances.

- To be considered an ADA wheelchair ramp, it should have a clear width of at least 36 inches.

- Wheelchair ramps must have landings at the very top of the ramp as well as where the ramp meets the ground. For every 30 feet of ramp run, there should be one level landing. Landings shall comply with the following ADA regulations:

  - The width of the landing should be at least as much as the width of the wheelchair ramp.

  - A landing should be at least 60 inches long.

  - If there is a change in the direction of the wheelchair ramp, the landing where the turn is should be at least 5 feet x 5 feet.

  - If any landing has a doorway, there should be enough space on the landing to accommodate the wheelchair after the door has been opened.

- Any wheelchair ramp that is more than 6 inches high, or if it is more than 6 feet in length; it should have a handrail on either side of the ramp so as to be in compliance with ADA ramp regulations. If it is a switchback or dogleg ramp, the handrails must extent through the entire length of the wheelchair ramp; else the handrails should go on for a minimum of 1 foot from the top of the wheelchair ramp and 1 foot till the bottom.

The top of the handrail needs to be a minimum of 34 inches from the ramp floor, with 38 inches being the maximum height allowed. The handrails should be secure and should not move or turn in their fixtures.

Thus, to be an ADA wheelchair ramp, all the above specifications and requirements must be carried out when building the wheelchair ramp.